| ID: 13 |  |  | - Buildings - external surfaces - |  |
| --- | --- | --- | --- | --- |
| Firehosing |  |  |  |  |
| Objective |  | To reduce external gamma and beta doses from contamination on external walls and roofs of buildings within inhabited areas, and reduce inhalation dose from material resuspended from these surfaces. |  |  |
| Other benefits |  | Will remove contamination from external building surfaces. |  |  |
| Countermeasure description |  | For normal sized residential housing, a hydraulic platform can be used to provide access to the front and rear walls and roofs of buildings. For roofs, it is unlikely that it will be practicable to collect all the water used for firehosing. Collection of water from roofs can be aided by modifying guttering and drainpipes, so that the collected waste is fed into collection tanks, where it may be filtered (most of radioactivity will be associated with the solid phase). If no active means are adopted to collect the water, some of the waste water will soak into the ground and some will pass directly into the drains or to soak-aways via gutters and drainpipes. For walls, it is unlikely to be practicable to collect the waste water and associated contamination. If it is practicable to collect the waste water, this can be done using PVC sheets draped between scaffolding and the wall. The bottom of the sheet hangs in a metal trough sealed to the wall with pitch. Water flows into the trough and a pump delivers the water to collection tanks. Water is then filtered and pumped to delay tanks. Clean-up of the surrounding ground surfaces should be considered after firehosing has been implemented if run-off to ground surfaces has occurred. Firehosing of walls and roofs should be implemented before any clean-up of the surrounding ground surfaces is implemented. Dust creation during implementation is unlikely to be a problem and so methods are not required to reduce the resuspension hazard to workers. |  |  |
| Target surface or population |  | External walls and roofs of buildings. |  |  |
| Target radionuclides |  | All radionuclides. Suitable for reducing doses from short-lived radionuclides if implemented quickly. See Appendix B for information on radionuclides. |  |  |
| Scale of application |  | Any size. Suitable for small areas (e.g. houses) and large areas (e.g. industrial buildings, schools etc). |  |  |
| Timing of implementation |  | Maximum benefit if carried out within 1 week of deposition when maximum dust/dirt remains on the surfaces. |  |  |
| ### Constraints on implementation |  |  |  |  |
| Legal |  | - Liabilities for possible damage to property (e.g. flooding) - Use on listed and other important buildings - Ownership and access to property - Disposal of contaminated water via public sewer system |  |  |
| Environmental / technical |  | - Severe cold weather (may require heated water) - Walls must be waterproof - Roof constructions must resist water |  |  |
| ### Effectiveness |  |  |  |  |
| Reduction in contamination on the surface |  | A decontamination factor (DF) of 1.3 can be achieved if this option is implemented within 1 week of deposition and before significant rain (rain is likely to remove more contamination from roofs than from walls). Repeated application is unlikely to provide any significant increase in DF. In the short term, the quoted DF can be considered to be same for all radionuclides, with the exception of elemental iodine and tritium for which thorough washing of impermeable surfaces will lead to virtually full removal. |  |  |
| Reduction in surface dose rates |  | External gamma and beta dose rates from the decontaminated surfaces will be reduced by approximately the value of the DF. |  |  |
| Reduction in resuspension |  | Resuspended air concentrations will be reduced by the value of the DF. |  |  |
| Averted doses |  | Reductions in external gamma dose rate shortly after decontamination of the building surfaces received by a member of the public living in an inhabited area could be expected to be up to a few percent. This is an illustrative value and should only be used to provide an indication of the likely effectiveness of this option and to compare across options. Further details can be found in Appendix C. Factors influencing dose reduction: - Population behaviour in the area (i.e. the time individuals spend close to the buildings) - Amount of buildings in the area i.e. environment type/land use - Consistency in effective implementation of option over a large area - Careful cleaning. Contamination needs to be washed from walls and roofs, not just ‘moved around’ the surface. Special care should be taken to clean roof gutters and drain pipes. Extra care should be taken to clean the lower part of walls as this is the surface that will provide the greatest dose to an individual near the building. - The area on the ground surrounding the building should be treated after treating the building if waster is not collected. - Time of implementation. The impact of cleaning the surfaces on the overall doses will be reduced with time as there will be less contamination on the surfaces due to natural weathering. |  |  |
| Additional doses |  | Exposure pathways workers could be exposed to are: - External exposure from environment and contaminated equipment - Inhalation of plume activity (if radionuclide release is ongoing) - Inhalation of radioactive material resuspended from the ground and other surfaces (may be enhanced over normal levels) - Inadvertent ingestion of dust from workers' hands Contributions from pathways in italics will not be significant and using personal protective equipment (PPE) can control doses from these pathways. Exposure routes from transport and disposal of waste are not included. Beta/gamma hazard: For radionuclides that present a beta/gamma hazard, external dose to workers from contamination in the environment will be a few times higher than public doses over the period of implementation. Even under very dusty conditions, the inhalation dose from resuspended material will only make a small contribution to the total worker dose. Alpha hazard: For radionuclides that present an alpha hazard, inhalation dose to workers from resuspended material will typically be a few times higher than public doses over the period of implementation. External dose from contamination in the environment can be ignored. For further information on worker doses, see Appendix D. |  |  |
| Factors influencing effectiveness of procedure (technical) |  | - Consistent application of water over the contaminated surface. - Dust levels on surface / moss on roofs - Type of surface. Rough surfaces eg roof tiles may trap contamination which is harder to remove - Number of windows (windows are easier to clean) |  |  |
| Factors influencing effectiveness of procedure (social) |  | Acceptability of waste water disposal to public sewer system. Public acceptability and feasibility of waste treatment and storage routes. |  |  |
| ### Requirements |  |  |  |  |
| Required specific equipment |  | - Fire-tender and hydraulic platform with mounted hoses - Scaffolding - PVC sheets - Trough - Tanks - Spate pumps and filters - Transport vehicles for equipment and waste |  |  |
| Required utilities and infrastructure |  | - Water and power supplies - Roads for transport of equipment and waste - Public sewer system |  |  |
| Required consumables |  | Water Fuel and parts for vehicles |  |  |
| Required skills |  | Skilled personnel essential to operate fire-engines and hoses |  |  |
| Required safety precautions |  | - Lifeline - Safety helmets - Water-resistant clothing should be recommended, particularly for strongly contaminated areas - May need personal protective equipment (PPE) to protect against inhaling water spray Precautions are needed to ensure that people making connections to mains water supplies do not inadvertently contaminate the water supply, e.g. by back-flow from vessels containing radioactivity or other contaminants, or operate hydrants in a way that disturbs settled deposits within the water main system. |  |  |
| ### Waste |  |  |  |  |
| Amount |  | 1 10-1 – 2 10-1 kg m-2 solid and 250 l m-2 water |  |  |
| Type |  | Dust and water Unlikely to be possible to collect water from firehosing walls. |  |  |
| Intervention costs (see Appendix E) |  |  |  |  |
| Equipment cost € m-2 |  | Walls |  | Roofs |
|  |  | 2 10-2 |  | 2 10-1 |
| Materials cost € m-2 |  | No significant cost identified |  |  |
| Labour cost € m-2 |  | 2 10-1 |  | 4 10-1 |
| Operator time | m2/team.hr | 8 102 – 1 103 |  | 1 102 |
|  | Team size | Up to 5 people, depending on whether waste water is collected |  | 1 |
| Factors influencing costs |  | The following factors influence the time taken to implement the option and hence labour costs: - Weather - Building size - Type of equipment used - Access - Proximity of water supplies - Use of personal protective equipment (PPE) by workers |  |  |
| ### Side effects / impact |  |  |  |  |
| Environmental impact |  | Waste water from run-off from buildings in inhabited areas will result following rainfall over a period. Firehosing will also create contaminated waste water. However, it may be easier to control the environmental impact of this water and to ensure appropriate monitoring in the sewage treatment plant and any subsequent disposal of sludge and water. The disposal or storage of waste arising from the implementation of this option may have an environmental impact. However, this should be minimised through the control of any disposal route and relevant authorisations. If waste water is not collected, some of it will run onto other surfaces (roads, soil, grass etc), resulting in a transfer of contamination which may require subsequent clean-up, generating more waste. It is important that firehosing of buildings is implemented before clean-up of surrounding ground surfaces. |  |  |
| Social impact |  | Acceptability of active disposal of contaminated waste water into the public sewer system. However, note point above. Firehosing of buildings will make an area look clean; implementation may give public reassurance. |  |  |
| Practical experience |  | Tested on a realistic scale on selected walls and roofs in the former Soviet Union and in Europe after the Chernobyl accident. |  |  |
| Key references |  | Brown and Jones (2000); Brown, Charnock and Morrey (2003); NRPB (2005); Roed et al (1995a) |  |  |