| ID: 15 |  |  | - Buildings - external surfaces - |  |
| --- | --- | --- | --- | --- |
| Sandblasting |  |  |  |  |
| Objective |  | To reduce external gamma and beta doses from contamination on external walls of buildings within inhabited areas, and reduce inhalation dose from material resuspended from these surfaces. |  |  |
| Other benefits |  | Will remove contamination from external building surfaces. |  |  |
| Countermeasure description |  | Sandblasting of walls will remove a thin layer, together with the contamination. To eliminate the risk of contamination translocation on the wall, the sandblasting must start at the top. Wet sandblasting is recommended, although dry sandblasting is generally almost as efficient. However the resuspension of contaminants is difficult to control with dry sandblasting. Sand is injected into a high pressure water system and is sprayed onto the surface, reached by scaffolding or fire-tender. A pump is mounted on the ground and hoses are fed to the platform or scaffolding. It is unlikely that it will be practicable to collect the water used for sandblasting. Some of the waste water will soak into the ground and some will pass into the drains. (If it is practicable to collect the waste water, this can be done using PVC sheets draped between scaffolding or platform and wall. The bottom of the sheet hangs in a metal trough and a spate pump delivers the water to tanks. Water can then be filtered and pumped to tanks and segregation of contaminated waste may be possible by filtration of the aqueous waste.) Dust creation during implementation is unlikely to be a problem and so methods are not required to reduce the resuspension hazard to workers. Workers should be protected from water spray. If walls are sufficiently contaminated to require treatment, the ground surfaces surrounding the building will almost certainly also be strongly contaminated and clean-up of these surfaces is also recommended. Clean-up of the surrounding ground should be carried out after sandblasting of walls. |  |  |
| Target surface or population |  | External walls of buildings (highly contaminated). |  |  |
| Target radionuclides |  | All long-lived radionuclides. Should not be considered for removal of short-lived radionuclides alone. See Appendix B for information on radionuclides. |  |  |
| Scale of application |  | Any size. Suitable for small areas (e.g. houses) and large areas (e.g. industrial buildings, schools etc). |  |  |
| Timing of implementation |  | Maximum benefit if carried out soon after deposition. However, sandblasting of external walls of buildings can be effective up to 10 years after deposition. |  |  |
| ### Constraints on implementation |  |  |  |  |
| Legal |  | - Liabilities for possible damage to property (e.g. flooding) - Ownership and access to property - Waste disposal legislation - Use on listed and other historically important buildings |  |  |
| Environmental / technical |  | - Severe cold weather - Walls must be waterproof if wet sandblasting is used. |  |  |
| ### Effectiveness |  |  |  |  |
| Reduction in contamination on the surface |  | A decontamination factor (DF) of between 4 and 10 could be achieved if this option is implemented soon after deposition. The effectiveness of sandblasting decreases with time after deposition as the contamination becomes harder to remove. Repeated application unlikely to provide any significant increase in DF. |  |  |
| Reduction in surface dose rates |  | External gamma and beta dose rates from decontaminated external walls of buildings will be reduced by a similar factor as the DF. |  |  |
| Reduction in resuspension |  | Resuspended air concentrations will be reduced by the same value as the DF. |  |  |
| Averted doses |  | Reductions in external gamma dose rate shortly after decontamination of the indoor building surfaces received by a member of the public living in and inhabited area could be expected to be around 6 - 8% following deposition under dry conditions. Following wet deposition, reductions in dose-rates will be negligible. This is an illustrative value and should only be used to provide an indication of the likely effectiveness of this option and to compare across options. Further details can be found in Appendix C. Factors influencing dose reduction: - Consistency in effective implementation of option over a large area - Care in application. Care needed to wash contamination from walls and not just move the contamination around the surface. Lower part of walls need to be cleaned very carefully as this is the surface that will provide the greatest dose to an individual in the vicinity of the building. - Whether the ground surrounding the building and other surfaces onto which run-off may have occurred have been decontaminated after treating the building (if waste was not collected). - Number of buildings in the area ie environment type/land use. - The time spent by individuals close to these buildings - Time after implementation. The impact of cleaning the surfaces on the overall doses will be reduced with time as there will be less contamination on the surfaces due to natural weathering. |  |  |
| Additional doses |  | Exposure pathways workers could be exposed to are: - External exposure from environment and contaminated equipment - Inhalation of radioactive material resuspended from the ground and other surfaces (may be enhanced over normal levels) - Inadvertent ingestion of dust from workers' hands Contributions from pathways in italics will not be significant and using personal protective equipment (PPE) can control doses from these pathways. Exposure routes from transport and disposal of waste are not included. Beta/gamma hazard: For radionuclides that present a beta/gamma hazard, external dose to workers from contamination in the environment will be a few times higher than public doses over the period of implementation. Even under very dusty conditions, the inhalation dose from resuspended material will only make a small contribution to the total worker dose. Alpha hazard: For radionuclides that present an alpha hazard, inhalation dose to workers from resuspended material will typically be a few times higher than public doses over the period of implementation. External dose from contamination in the environment can be ignored. For further information on worker doses, see Appendix D. |  |  |
| Factors influencing effectiveness of procedure (technical) |  | - Water pressure - Type of sand applied - Type, evenness and condition of surface - Consistent application of water and sand over the contaminated area (i.e. operator skill) |  |  |
| Factors influencing effectiveness of procedure (social) |  | - Population behaviour in the area. |  |  |
| ### Requirements |  |  |  |  |
| Required specific equipment |  | The equipment used will depend on whether the waste water is filtered prior to disposal. The equipment used for sandblasting can include: |  |  |
|  |  | - 150 bar (2000 psi) pressure washer - Dry abrasive feeder - Generator - Sheeting - Tanks - Troughs - Filters - Spate pump |  | - Gully sucker - Scaffolding with roof ladders for additional roof access (or fire-tenders with hydraulic platform for larger areas) - Transport vehicles for equipment and waste |
| Required utilities and infrastructure |  | - Roads for transport of equipment, materials and waste - Water supply - Public sewer system |  |  |
| Required consumables |  | - Water - Sand - Fuel and parts for generators and transport vehicles |  |  |
| Required skills |  | Skilled personnel essential to operate sandblasting equipment. |  |  |
| Required safety precautions |  | - For tall buildings: lifeline and safety helmets. - Water-resistant clothing and safety glasses should be recommended, particularly in highly contaminated areas - Personal protective equipment (PPE) should be considered to protect workers against water spray. Precautions are needed to ensure that people making connections to mains water supplies do not inadvertently contaminate the water supply, e.g. by back-flow from vessels containing radioactivity or other contaminants, or operate hydrants in a way that disturbs settled deposits within the water main system. |  |  |
| ### Waste |  |  |  |  |
| Amount |  | 3 kg m-2 solid and 50 l m-2 water (water usage is higher than for sandblasting under normal circumstances as it takes longer to ‘clean’ the surface). |  |  |
| Type |  | Dust, sand and water |  |  |
| Intervention costs (see Appendix E) |  |  |  |  |
| Equipment € m-2 |  | 1 10-1 |  |  |
| Consumables € m-2 |  | No significant cost identified |  |  |
| Labour € m-2 |  | 7 |  |  |
| Operator time | Work rate m2/team.hr | 15 – 20 Slower than for sandblasting under normal conditions Work rate excludes setting up scaffolding |  |  |
|  | Team size (people) | 3 – 6 people. The number of people depends on equipment used for access to buildings and whether waste water is collected. |  |  |
| Factors influencing costs |  | The following are the factors that will influence the time taken to implement the option and hence labour costs: - Weather - Building size - Type of equipment used - Access - Proximity of water supplies - Use of personal protective equipment (PPE) |  |  |
| ### Side effects / impact |  |  |  |  |
| Environmental impact |  | Waste water from run-off from buildings in inhabited areas will result following rainfall over a period. Sandblasting will also create contaminated waste water. However, it may be easier to control the environmental impact of this water and to ensure appropriate monitoring in the sewage treatment plant. The disposal or storage of waste arising from the implementation of this option may have an environmental impact. However, this should be minimised through the control of any disposal route and relevant authorisations. If waste water is not collected, some of it will run onto other surfaces (roads, soil, grass etc), resulting in a transfer of contamination which may require subsequent clean-up, generating more waste. Wet sandblasting may cause damage to basements. |  |  |
| Social impact |  | - Acceptability of active disposal of contaminated waste water into the public sewer system. However, note point above. - Sandblasting of buildings will make an area look clean; implementation may give public reassurance. - Repair work on some walls may be required. |  |  |
| Practical experience |  | Tested on realistic scale on selected walls in the CIS and Europe after the Chernobyl accident. |  |  |
| Key references |  | Andersson (1996); Andersson et al (2003); Brown and Jones (2000); Brown, Charnock and Morrey (2003); Hubert et al (1996); NRPB (2005); Roed and Andersson (1996); Roed, Andersson and Prip (1995) |  |  |