| ID: 16 |  |  | - Buildings - external surfaces - |  |
| --- | --- | --- | --- | --- |
| High pressure hosing |  |  |  |  |
| Objective |  | To reduce external gamma and beta doses from contamination on external walls and roofs of buildings within inhabited areas, and reduce inhalation dose from material resuspended from these surfaces. |  |  |
| Other benefits |  | Will remove contamination from external building surfaces. |  |  |
| Countermeasure description |  | Pressure-washing equipment can be used to loosen contamination from a surface and wash it off. A continuous water flow is applied to the building at high pressure of about 150 bar (2000 psi). Washing must start at the top of walls and roofs and it is particularly important to avoid lifting roof tiles by forcing water upwards. A pump is mounted on the ground and hoses are fed to a platform or scaffolding. Use of high pressure jets at pressures significantly above 150 –200 bar is not advisable on roofs as this may lead to lifting of the tiles. For roofs, it should be practicable to collect the water used for high pressure hosing. Collection of water from roofs can be aided by modifying guttering and drainpipes, so that the collected waste is fed into collection tanks, where it may be filtered (most of radioactivity will be associated with the solid phase). If no active means are adopted to collect the water, some of the waste water may soak into the ground and the rest will pass directly into the drains or to soak-aways via gutters and drainpipes. It may be necessary to apply a surface treatment to roofs to ensure protection against future water penetration. For walls, it is unlikely to be practicable to collect the waste water and associated contamination. If it is practicable to collect the waste water, this can be done using PVC sheets draped between scaffolding and the wall. The bottom of the sheet hangs in a metal trough sealed to the wall with pitch. Water flows into the trough and a pump delivers the water to collection tanks. Water is then filtered and pumped to delay tanks. Clean-up of the surrounding ground surfaces should be considered after high pressure hosing has been implemented, if run-off to ground surfaces has occurred. High pressure hosing of walls and roofs should be implemented before any clean-up of the surrounding ground surfaces is implemented. Dust creation during implementation is unlikely to be a problem and so methods are not required to reduce the resuspension hazard to workers. Workers should be protected from water spray. |  |  |
| Target surface or population |  | External walls and roofs of buildings (highly contaminated). |  |  |
| Target radionuclides |  | All long-lived radionuclides. Unlikely to be used for removal of short-lived radionuclides. See Appendix B for information on radionuclides. |  |  |
| Scale of application |  | Any size. Suitable for small areas (e.g. houses) and large areas (e.g. industrial buildings, schools etc). |  |  |
| Timing of implementation |  | Maximum benefit if carried out soon after deposition when maximum contamination is still on the surfaces. However, high pressure hosing of external walls and roofs of buildings can be effective up to 10 years after deposition. |  |  |
| ### Constraints on implementation |  |  |  |  |
| Legal |  | - Liabilities for possible damage to property (e.g. flooding) - Ownership and access to property - Disposal of contaminated water via public sewer system - Use on listed and other historical buildings |  |  |
| Environmental / technical |  | - Severe cold weather - Walls must be waterproof - Roof constructions must resist water at high pressure |  |  |
| ### Effectiveness |  |  |  |  |
| Reduction in contamination on the surface |  | A decontamination factor (DF) of between 1.5 and 5 can be achieved if this option is implemented soon after deposition. In the case of Plutonium, a DF of between of 10 and 2 can be achieved. For elemental iodine and tritium, thorough hosing of impermeable surfaces will lead to virtually full removal of contamination. The effectiveness of high pressure hosing decreases with time elapsed since contamination occurred, especially in areas with high rainfall rates. Repeated application is unlikely to provide any significant increase in DF. |  |  |
| Reduction in surface dose rates |  | External gamma and beta dose rates from decontaminated external walls and roofs of buildings will be reduced by a factor similar to the DF. |  |  |
| Reduction in resuspension |  | Resuspended air concentrations will be reduced by the value of the DF. |  |  |
| Averted doses |  | Reductions in external gamma dose rate shortly after decontamination of the indoor building surfaces received by a member of the public living in and inhabited area could be expected to be around 6 - 7% following deposition under dry conditions. Following wet deposition, reductions in dose-rates will be similar for high pressure hosing roofs but negligible for walls. This is an illustrative value and should only be used to provide an indication of the likely effectiveness of this option and to compare across options. Further details can be found in Appendix C. Factors influencing dose reduction: - Consistency in effective implementation of option over a large area - Care in application. Care needed to wash contamination from walls and roofs and not just move the contamination around the surface; lower part of walls need to be cleaned very carefully as this is the surface that will provide the greatest dose to an individual in the vicinity of the building; special care needed to clean roof gutters and drain pipes. - Whether the ground surrounding the building and other surfaces onto which run-off may have occurred have been decontaminated after treating the building (if waste was not collected). - Number of buildings in the area, ie environment type/land use. - The time spent by individuals close to these buildings. - Time of implementation. The impact of cleaning the surfaces on the overall doses will be reduced with time as there will be less contamination on the surfaces due to natural weathering. |  |  |
| Additional doses |  | Exposure pathways workers could be exposed to are: - External exposure from environment and contaminated equipment - Inhalation of radioactive material resuspended from the ground and other surfaces (may be enhanced over normal levels) - Inadvertent ingestion of dust from workers' hands Contributions from pathways in italics will not be significant and using personal protective equipment (PPE) can control doses from these pathways. Exposure routes from transport and disposal of waste are not included. Beta/gamma hazard: For radionuclides that present a beta/gamma hazard, external dose to workers from contamination in the environment will be a few times higher than public doses over the period of implementation. Even under very dusty conditions, the inhalation dose from resuspended material will only make a small contribution to the total worker dose. Alpha hazard: For radionuclides that present an alpha hazard, inhalation dose to workers from resuspended material will typically be a few times higher than public doses over the period of implementation. External dose from contamination in the environment can be ignored. For further information on worker doses, see Appendix D. |  |  |
| Factors influencing effectiveness of procedure (technical) |  | - Water pressure - Type, evenness and condition of surface, including the amount of moss on roofs - Time of operation (the longer the time between deposition and implementation of the option the less effective it will be due to fixing of the contamination to the surface) - Consistent application of water over the contaminated area (ie operator skill) |  |  |
| Factors influencing effectiveness of procedure (social) |  | - Population behaviour in the area. |  |  |
| ### Requirements |  |  |  |  |
| Required specific equipment |  | The equipment used will depend on whether the waste water is filtered prior to disposal. The equipment used for high pressure hosing can include: |  |  |
|  |  | - 2000 psi pressure washer - 7.5kW generator - Filter - Spate pump - Gully sucker |  | - Scaffolding with roof ladders for additional roof access (or fire-tenders with hydraulic platform for large areas) - Transportation vehicles for equipment and waste |
| Required utilities and infrastructure |  | - Roads for transport of equipment and waste - Water supply - Public sewer system |  |  |
| Required consumables |  | - Water - Fuel and parts for generators and transport vehicles - Surface treatment for roofs (if required) |  |  |
| Required skills |  | Skilled personnel essential to operate high pressure hoses and gully suckers |  |  |
| Required safety precautions |  | - For tall buildings: lifeline and safety helmets - Water-resistant clothing should be recommended, particularly in highly contaminated areas - Personal protective equipment (PPE) should be considered to protect workers from contaminated water spray Precautions are needed to ensure that people making connections to mains water supplies do not inadvertently contaminate the water supply, e.g. by back-flow from vessels containing radioactivity or other contaminants, or operate hydrants in a way that disturbs settled deposits within the water main system. |  |  |
| ### Waste |  |  |  |  |
| Amount |  | 2 10-1 – 4 10-1 kg m-2 solid and 20 l m-2 water (water usage is higher than for high pressure hosing under normal circumstances as it takes longer to ‘clean’ the surface). |  |  |
| Type |  | Dust and water |  |  |
| Intervention costs (see Appendix E) |  |  |  |  |
| Equipment € m-2 |  | 6 10-2 |  |  |
| Consumables |  | No significant cost identified |  |  |
| Labour € m-2 |  | 2 |  |  |
| Operator time | Work rate m2/team.hr | 30 – 60 Work rate slower than for high pressure hosing under normal conditions Excludes setting up scaffolding, if required. |  |  |
|  | Team size people | Up to 3 Number of people depends on equipment used for access to buildings More people needed if water is collected and filtered prior to disposal. |  |  |
| Factors influencing costs |  | The following factors influence the time taken to implement the option and hence labour costs: - Weather - Building size - Type of equipment used - Access - Proximity of water supplies - Use of personal protective equipment (PPE) |  |  |
| ### Side effects / impact |  |  |  |  |
| Environmental impact |  | Waste water from run-off from buildings in inhabited areas will result following rainfall over a period. High pressure hosing will also create contaminated waste water. However, it may be easier to control the environmental impact of this water and to ensure appropriate monitoring in the sewer infrastructure. The disposal or storage of waste arising from the implementation of this option may have an environmental impact. However, this should be minimised through the control of any disposal route and relevant authorisations. If waste water is not collected, some of it will run onto other surfaces (roads, soil, grass etc), resulting in a transfer of contamination which may require subsequent clean-up, generating more waste. It is important that high pressure hosing of buildings is implemented before clean-up of surrounding ground surfaces. |  |  |
| Social impact |  | - Acceptability of active disposal of contaminated waste water into the public sewer system. However, note point above. - High pressure hosing of buildings will make an area look clean; implementation may give public reassurance. - Repair work on some walls and roofs may be required. |  |  |
| Practical experience |  | Tested on realistic scale on selected walls and roofs in the CIS and Europe after the Chernobyl accident. |  |  |
| Key references |  | Andersson (1996); Andersson and Roed (1999); Andersson et al (2003); Brown and Jones (2000); Brown, Charnock and Morrey (2003); Hubert et al (1996); NRPB (2005); Roed and Andersson (1996); Roed, Andersson and Prip (1995) |  |  |