| ID: 17 |  | - Buildings - external surfaces - |
| --- | --- | --- |
| Roof cleaning with pressurised hot water |  |  |
| Objective | To reduce external gamma and beta doses from contamination on roofs of buildings within inhabited areas, and reduce inhalation dose from material resuspended from those surfaces. |  |
| Other benefits | Will remove contamination from roof surfaces. |  |
| Countermeasure description | Rotating nozzles are driven by hot water (ca. 65 °C) at high pressure (typically 150 bar). Cleaning is performed in a closed (shielded) ‘box’ system. The device is mounted on a trolley that can be drawn across the roof. It is operated from the top of the roof, lowered down the roof using the pressure water hose. Note that the use of hotter water (ca. 80 °C) and detergent can considerably increase the effectiveness of the procedure. Care must be taken not to block drains with moss, etc. The waste water can be easily collected via downpipes. However, water may be allowed to pass into drains or to soak-aways via gutters and drainpipes. Cleaning of these should be considered after implementation. Clean-up of the surrounding ground should also be considered following roof cleaning if contaminated water drained onto the ground surrounding buildings. Roof-cleaning should be undertaken before any clean-up of ground surfaces surrounding buildings. Dust creation during implementation is unlikely to be a problem and so methods are not required to reduce the resuspension hazard to workers. |  |
| Target surface or population | Contaminated roofs of buildings, both residential and industrial. |  |
| Target radionuclides | All long-lived radionuclides. Unlikely to be used for removal of short-lived radionuclides. See Appendix B for information on radionuclides. |  |
| Scale of application | Any size. Suitable for small roofs (e.g. houses) and large roofs (e.g. industrial buildings , schools etc). Use depends on availability of equipment. |  |
| Timing of implementation | Maximum benefit if carried out soon after deposition when maximum contamination is still on the surfaces. However roof cleaning can be effective up to 10 years after deposition depending on the roof material and removable debris/growth. |  |
| ### Constraints on implementation |  |  |
| Legal | - Ownership and access to property - Disposal of contaminated water via the public sewer system, if required - Use on listed or other historical buildings |  |
| Environmental / technical | - Severe cold weather (if frosty, may require heating of water). - Roof construction must resist water at high pressure. |  |
| ### Effectiveness |  |  |
| Reduction in contamination on the surface | A decontamination factor (DF) of between 2 and 7 can be achieved if this option is implemented soon after deposition. Using hot water and detergent improves the effectiveness considerably. In the short term, the quoted DF can be considered to be same for all radionuclides, with the exception of elemental iodine and tritium, for which thorough washing of impermeable surfaces will lead to virtually full removal. Even after 10 years, a DF of 2 – 4 can be achieved. The DF will be lowest for slate, clay and concrete roofs, and highest for silicon-treated slate, and possibly even higher for aluminium/ iron. If a surface layer of moss/algae covers the roof at the time of deposition, almost all the contamination may be removable. |  |
| Reduction in surface dose rates | External gamma and beta dose rates above decontaminated roofs of buildings will be reduced by approximately the value of the DF. |  |
| Reduction in resuspension | Resuspended air concentrations above the roof surface will be reduced by the value of the DF. However, it should be noted that resuspension from roofs is unlikely to be significant. |  |
| Averted doses | Reductions in external gamma dose rate shortly after decontamination of the roof surface received by a member of the public living in an inhabited area could be expected to be around 7 - 8%. This is an illustrative value and should only be used to provide an indication of the likely effectiveness of this option and to compare across options. Further details can be found in Appendix C. Factors influencing dose reduction: - Consistency in effective implementation of option over a large area. - Care taken to wash contamination to the roof gutter and not just translocate it onto other parts of the roof. Special care must be taken to clean roof gutters and drain pipes thoroughly after implementation. - Whether the ground surfaces below the roof (onto which run-off may have occurred) have been decontaminated after treating the roof (especially if there is no gutter and waste water is not collected). - Number of buildings in the area, i.e. environment type / land use. - The time spent by individuals close to buildings. - Time of implementation. The impact of cleaning roofs on the overall doses will be reduced with time as there will be less contamination on the surfaces due to natural weathering. - Industrial buildings often have light (not well shielding) roof constructions, and the often shallow slope of the roof may result in relatively high contamination levels and resulting dose rates. |  |
| Additional doses | Exposure pathways workers could be exposed to are: - External exposure from environment and contaminated equipment - Inhalation of radioactive material resuspended from the ground and other surfaces (may be enhanced over normal levels) - Inadvertent ingestion of dust from workers' hands Contributions from pathways in italics will not be significant and using personal protective equipment (PPE) can control doses from these pathways. Exposure routes from transport and disposal of waste are not included. Beta/gamma hazard: For radionuclides that present a beta/gamma hazard, external dose to workers from contamination in the environment will be a few times higher than public doses over the period of implementation. Even under very dusty conditions, the inhalation dose from resuspended material will only make a small contribution to the total worker dose. Alpha hazard: For radionuclides that present an alpha hazard, inhalation dose to workers from resuspended material will typically be a few times higher than public doses over the period of implementation. External dose from contamination in the environment can be ignored. For further information on worker doses, see Appendix D. |  |
| Factors influencing effectiveness of procedure (technical) | - Consistent application of cleaning over the contaminated area (i.e. operator skill) - Material from which roof is constructed (see above) - Evenness, condition of the surface, - Amount of moss/debris on roof - Time of operation (the longer the time between deposition and implementation of the option, the less effective it will be due to the contamination becoming fixed to the surface). - Water pressure, amount of water, water temperature (hotter water is more effective), use of detergent. |  |
| Factors influencing effectiveness of procedure (social) |  |  |
| ### Requirements |  |  |
| Required specific equipment | - Roof cleaning trolley (about €500) and high pressure hot water generator (about € 37,500). - Scaffolds or mobile lifts for operation from the roof. - Transport vehicles for equipment (and waste) |  |
| Required utilities and infrastructure | - Water supply (water may be pumped from a lake or river if not available form the domestic water supply or a hydrant). - Public sewer system - Roads for transporting equipment (and waste) |  |
| Required consumables | - Power supply (petrol-driven mobile generator may be required if power is not available). - Fuel and parts for generators if required (8 l h-1) and transport vehicles - Water (about 30 l m-2) |  |
| Required skills | Can be carried with little instruction - one person on the rooftop and one on the ground administrating supplies (given little instruction). |  |
| Required safety precautions | - For tall buildings: lifeline and safety helmet. - Water resistant clothing should be recommended, particularly in highly contaminated areas. - As the cleaning is carried out in a closed wet environment, the dust (inhalation) hazard is negligible, so respiratory protective equipment (RPE) is unlikely to be required. Precautions are needed to ensure that people making connections to mains water supplies do not inadvertently contaminate the water supply, e.g. by back-flow from vessels containing radioactivity or other contaminants, or operate hydrants in a way that disturbs settled deposits within the water main system. |  |
| ### Waste |  |  |
| Amount and type | Generates some 30 l m-2 of liquid waste, with ca. 0.2 kg m-2 of solid waste containing nearly all the contamination. Waste may be toxic (asbestos). Water can be collected via the down-pipes and filtered using a simple filter prior to disposal via the drains or can be recycled. |  |
| Intervention costs (see Appendix E) |  |  |
| Equipment | € 2 m-2 Excludes cost for scaffolding and lifts, if required. |  |
| Consumables | 30 l m-2 of water, at current prices 8 l petrol per hour for mobile compressor if required, at current prices |  |
| Labour | € 2 101 m-2 |  |
| Operator time | 3 m2 per team hour (team size: 2 people) Work rate excludes setting up scaffolding. |  |
| Factors influencing costs | The following factors influence the time taken to implement the option and hence labour costs: - Weather - Building size: size of scaffolds / mobile lifts - Roof gradient and amount of debris on roof - Access - Proximity of water supplies - Operator skill |  |
| ### Side effects / impact |  |  |
| Environmental impact | Waste water from run-off from buildings in inhabited areas will result following rainfall over a period. Roof cleaning will also create contaminated waste water. However, it may be easier to control the environmental impact of this water and to ensure appropriate monitoring in the sewer infrastructure. The disposal or storage of waste arising from the implementation of this option may have an environmental impact. However, this should be minimised through the control of any disposal route and relevant authorisations. If waste water is not collected, some of it will run onto other surfaces (roads, soil, grass etc). These may require subsequent clean-up, generating more waste. |  |
| Social impact | - Acceptability of active disposal of contaminated waste water into the public sewer system. However, note point above. - Cleaning roofs will make buildings look cleaner; implementation may give public reassurance - Repair work on roof etc may be required but this is unlikely. |  |
| Practical experience | Tested on realistic scale on selected roofs of different types in the CIS after the Chernobyl accident. |  |
| Key references | Andersson et al (2003); Balonov et al (2001) |  |