| ID: 21 |  |  | - Buildings - external surfaces - |  |
| --- | --- | --- | --- | --- |
| Tie-down: paint |  |  |  |  |
| Objective |  | To reduce inhalation doses from material resuspended from external building surfaces within inhabited areas in the short or long term. Likely to be only used prior to implementing other clean-up options in order to protect workers from the resuspension hazard. This data sheet provides additional information to support data sheets 18 and 20 where it is recommended that tie down is considered before the implementation of the option to protect workers from the resuspension hazard. |  |  |
| Other benefits |  | May also reduce external beta doses |  |  |
| Countermeasure description |  | Acrylic paint (eg. Vinacryl) is sprayed onto the surface by spray injection. In the long-term, account should be taken of the need for surface repair and repainting. |  |  |
| Target surface or population |  | External walls and roofs of buildings. |  |  |
| Target radionuclides |  | Alpha emitting radionuclides. May be used for other radionuclides if conditions mean that inhalation doses from resuspended material are likely to be of concern. See Appendix B for information on radionuclides. |  |  |
| Scale of application |  | Any size. Suitable for small areas (e.g. houses) and large areas (e.g. industrial buildings, schools etc). |  |  |
| Timing of implementation |  | Tie-down can be effective at any time after deposition; however, maximum benefit if carried out soon after deposition. Tie-down is effective for the period over which the integrity of the covering is maintained. |  |  |
| ### Constraints on implementation |  |  |  |  |
| Legal |  | - Liabilities for possible damage to property. - Ownership and access to property. - Use on listed and other historic buildings. |  |  |
| Environmental / technical |  | - Severe cold weather. |  |  |
| ### Effectiveness |  |  |  |  |
| Reduction in contamination on the surface |  | This option is not applied to clean a surface. It is assumed that the decontamination factor (DF) is 1. In practice, some contamination may be removed along with the tie-down material (if it is subsequently removed) |  |  |
| Reduction in surface dose rates |  | While the tie-down material is in place, external beta dose rates adjacent to the surface will be reduced by a factor depending on the energy of the beta emissions; this option will be more effective at reducing dose rates associated with low energy beta emissions. This option is not effective at reducing external gamma dose rates adjacent to the surface. |  |  |
| Reduction in resuspension |  | While the tie-down material is in place, resuspended air concentrations adjacent to the surface will be reduced by close to 100%. |  |  |
| Averted doses |  | Dose reductions have not been estimated for this option. Tie-down will only be effective in reducing inhalation of material resuspended from a surface for the period that the tie-down material is in place. The effectiveness in reducing doses to a person living in an inhabited area will be very dependent on the specific situation and the length of time the tie-down material is in place. Factors influencing dose reduction: - Consistency in effective implementation of option over a large area - Population behaviour in area - Number of buildings in the area i.e. environment type/land use - Time of implementation. The impact of tie-down on the overall doses will be reduced with time as there will be less contamination on the surfaces due to natural weathering. - Length of time tie-down material is in place. |  |  |
| Additional doses |  | Exposure pathways workers could be exposed to are: - External exposure from environment and contaminated equipment - Inhalation of radioactive material resuspended from the ground and other surfaces (may be enhanced over normal levels) - Inadvertent ingestion of dust from workers' hands Contributions from pathways in italics will not be significant and using personal protective equipment (PPE) can control doses from these pathways. Exposure routes from transport and disposal of waste are not included. For radionuclides that present a beta/gamma hazard, external dose dominates. Even under very dusty conditions, the resuspension dose will only provide a small contribution to the total worker dose. In general, worker doses will be a few times higher than public doses. For radionuclides that present an alpha hazard, resuspension dose dominates and external dose can be ignored. Worker doses will typically be up to a few times higher than public doses but this will depend on the length of time that workers remain in the contaminated area. For further information on worker doses, see Appendix D |  |  |
| Factors influencing effectiveness of procedure (technical) |  | - Weather conditions - Correct application of tie-down material over the contaminated area - Type and condition of surface |  |  |
| Factors influencing effectiveness of procedure (social) |  |  |  |  |
| ### Requirements |  |  |  |  |
| Required specific equipment |  | - Airless spray pump and compressor - Access by scaffolding or fire-tender with hydraulic platform - Transport vehicles for equipment are required |  |  |
| Required utilities and infrastructure |  | Roads for transport of equipment, materials and waste. |  |  |
| Required consumables |  | - Acrylic paint (eg. Vinacryl). - Fuel and parts for transport vehicles |  |  |
| Required skills |  | Skilled personnel essential to operate equipment. |  |  |
| Required safety precautions |  | Gloves and overalls |  |  |
| ### Waste |  |  |  |  |
| Amount and type |  | If paint is subsequently removed: Amount: 4 10-1 kg m-2 Type: paint |  |  |
| Intervention costs (see Appendix E) |  |  |  |  |
|  |  | Small areas |  | Large areas |
| Equipment € m-2 |  | 3 10-2 |  | 1 10-1 |
| Consumables € m-2 |  | 1 10-1 |  | 1 10-1 |
| Labour € m-2 |  | 7 10-1 |  | 1 |
| Operator time | Work rate m2/team.hr | 1.5 102 – 2 102 Work rate excludes setting up scaffolding |  |  |
|  | Team size people | 3 – 6 Number of people depends on size of area, equipment used and access to surfaces |  |  |
| Factors influencing costs |  | The following are the factors that will influence the time taken to implement the option and hence labour costs: - Weather - Height of building - Size of area - Type of equipment used - Access |  |  |
| ### Side effects / impact |  |  |  |  |
| Environmental impact |  | If paint is later removed (as part of clean-up or later due to maintenance), the disposal or storage of waste arising from the implementation of this option may have an environmental impact. However, this should be minimised through the control of any disposal route and relevant authorisations. |  |  |
| Social impact |  | Acceptability of contamination remaining in-situ. Acceptability of potential future doses to those maintaining external building surfaces. |  |  |
| Practical experience |  | There is no readily available evidence of any practical experience of the use of this option for clean-up of radioactive contamination in inhabited areas. |  |  |
| Key references |  | Brown and Jones (2000); Brown, Charnock and Morrey (2003); NRPB (2005) |  |  |