| ID: 27 |  |  | - Large public buildings - indoor floors and walls |
| --- | --- | --- | --- |
| Aggressive cleaning of indoor contaminated surfaces |  |  |  |
| Objective |  | To reduce external gamma and beta doses arising from contamination on indoor floor and wall surfaces of large public buildings, eg railway stations within inhabited areas, and reduce inhalation dose from material resuspended from those surfaces. |  |
| Other benefits |  | Will remove contamination from indoor floor and wall surfaces in buildings. |  |
| Countermeasure description |  | The techniques likely to be considered are high pressure hosing, sandblasting and surface removal. For high pressure hosing (and sandblasting), water at 2000 psi is pumped through a hand-held nozzle. All machines have the capability of introducing detergent, other chemicals or grit into hot or cold water (sand blasting). For large areas such as railway stations, 5000 psi pumped water could be used with equipment mounted on a heavy trolley. The water is pressurised by a trailer mounted pump with water supplies from tanks, hydrants or fire tenders. Scabblers are used to remove cracked and shattered concrete surfaces leaving a textured finish to which the new layer will key satisfactorily. The technique involves several pneumatic hammers shattering 6mm of the surface. The surface must be kept wet during the process to prevent resuspension and recontamination of surfaces. It is unlikely that this technique would ever be required, except perhaps at the junction of floor and wall where ingress of contamination to the underlying concrete is likely. It may also be possible to use this technique on bricks. For large areas with outside access, gully suckers could be used to collect the waste water. Clean-up of the surrounding ground/other surfaces should be considered if waste is not collected. Segregation of contaminated waste may be possible by filtration of the aqueous waste. Dust creation during implementation is unlikely to be a problem and so methods are not required to reduce the resuspension hazard to workers. Workers may need to protected against water spray. |  |
| Target surface or population |  | Indoor surfaces of buildings that are robust enough to withstand invasive cleaning / removal, eg large concrete concourses. |  |
| Target radionuclides |  | All radionuclides. Unlikely to be used for removing short-lived radionuclides alone. See Appendix B for information on radionuclides. |  |
| Scale of application |  | Suitable for large areas of indoor surfaces in public buildings, particularly those open to the outdoors, eg railway stations. |  |
| Timing of implementation |  | Maximum benefit if carried out soon after deposition when maximum contamination is still on the surfaces. However, these techniques may be effective up to several years after deposition, although this will depend on the cleaning and weathering that has taken place prior to clean-up. |  |
| ### Constraints on implementation |  |  |  |
| Legal |  | - Liabilities for possible damage to property (e.g. flooding) - Ownership and access to property - Disposal of contaminated water via public sewer system - Use on listed sites, historical buildings or in conservation areas |  |
| Environmental / technical |  | - Severe cold weather - Surfaces must be waterproof and resist water at high pressure. - Nearby drains are required if water is not to be collected. |  |
| ### Effectiveness |  |  |  |
| Reduction in contamination on the surface |  | A decontamination factor (DF) of up to 10 could be expected for high pressure hosing and sandblasting of concrete, stone and brick surfaces (floors and walls) if this option is implemented within a few weeks of deposition and no previous cleaning has taken place. For smooth surfaces, such as tiles, linoleum, Marley tiles and glass, a higher DF could be expected. For scabbling/concrete removal, higher DFs of up to 15 may be achieved for concrete, stone or brick floor surfaces if this option is implemented soon after deposition and no previous cleaning has taken place. Repeated application is unlikely to provide any significant increase in DF if implemented thoroughly the first time. |  |
| Reduction in surface dose rates |  | - External gamma and beta dose rates immediately above cleaned surfaces will be reduced by a factor similar to the DF. |  |
| Reduction in resuspension |  | A reduction in resuspension from the cleaned surfaces could be expected to be of the same value as the DF. |  |
| Averted doses |  | Dose reductions have not been estimated for this option. Some indication of possible dose reductions can be found in data sheets 16 (high pressure hosing building exteriors), and 15 (sandblasting building exteriors). However, it should be noted that these techniques will only reduce doses to people while they are indoors and the averted doses will be very dependent on the specific situation and the surfaces cleaned. Factors influencing dose reduction: - Consistency in effective implementation of option over entire area. - Weather at time of deposition; less material is deposited indoors during wet deposition. - Application of appropriate clean-up to other indoor surfaces and objects. - Time of implementation. The impact of cleaning the surfaces on the overall doses will be reduced with time as there will be less contamination on the surfaces due to natural weathering. - The amount of time spent by individuals inside the buildings. - Care of application. Need to wash contamination off surfaces and not just move it around the surface or onto another surface. |  |
| Additional doses |  | Exposure pathways workers could be exposed to are: - External exposure from environment and contaminated equipment - Inhalation of radioactive material resuspended from the floor and other surfaces (may be enhanced over normal levels) - Inadvertent ingestion of dust from workers' hands Contributions from pathways in italics will not be significant and using personal protective equipment (PPE) can control doses from these pathways. Exposure routes from transport and disposal of waste are not included. Beta/gamma hazard: For radionuclides that present a beta/gamma hazard, external dose to workers from contamination in the environment will be a few times higher than public doses over the period of implementation. Even under very dusty conditions, the inhalation dose from resuspended material will only make a small contribution to the total worker dose. Alpha hazard: For radionuclides that present an alpha hazard, inhalation dose to workers from resuspended material will typically be a few times higher than public doses over the period of implementation. External dose from contamination in the environment can be ignored. For further information on worker doses, see Appendix D. |  |
| Factors influencing effectiveness of procedure (technical) |  | - Type and condition of surface, eg. Joints between tiles can be hard to clean and tend to be places where conamination concentrates. - Type of method applied - Time of operation (the longer the time between deposition and implementation of the option the less effective it will be as contaminated dust may have migrated elsewhere) - Consistent application over the contaminated area; need to ensure edges and corners are cleaned - Amount of dust on surfaces at the time of deposition - Whether any cleaning has already been undertaken - Efficiency of equipment and water pressure used. |  |
| Factors influencing effectiveness of procedure (social) |  |  |  |
| ### Requirements |  |  |  |
| Required specific equipment |  | The equipment used will depend on whether the waste water is filtered prior to disposal. Equipment could include: - 2000 psi pressure washer - 7.5 kW generator - filter - spate pump - gully sucker with fishtail attachment - transport vehicles for equipment and waste - pneumatic hammers |  |
| Required utilities and infrastructure |  | Roads for transport of equipment and waste Water and power supplies Public sewer system |  |
| Required consumables |  | Water Fuel and parts for generators and transport vehicles Sand/grit for sandblasting |  |
| Required skills |  | Skilled personnel essential to operate machinery. |  |
| Required safety precautions |  | Water resistant clothing should be recommended, particularly in highly contaminated areas Personal protective equipment (PPE), including respiratory protection, should be considered to protect workers from contaminated water spray. |  |
| ### Waste |  |  |  |
| Amount |  | Variable depending on technique and whether water is collected. Sandblasting gives rise to about 3 kg m-2 of solid waste (dust + filters) + water used. Scabbling gives rise to about 15 kg m-2 solid waste for concrete floor removal and 25 kg m-2 for brick wall removal. |  |
| Type |  | Dust/dirt (sludge), water and filters |  |
| Intervention costs (see Appendix E) |  |  |  |
| Equipment € m-2 |  | 1 10-1 – 3 10-1 depending on cleaning method For scabbling brick walls cost increases to about 8 |  |
| Consumables € m-2 |  | No significant costs for high pressure hosing. For other techniques costs could be in the region of 3 10-1 – 5 10-1 |  |
| Labour € m-2 |  | 7 10-1 – 5 depending on cleaning method For scabbling brick walls cost increases to about 70 |  |
| Operator time | Work rate, m2 /team hr | 1 102 for high pressure hosing and sandblasting 15 for concrete floor and 5 10-1 for brick walls (scabbling). |  |
|  | Team size, number of people | 1-2 people for high pressure hosing/sandblasting. If water is collected, more people will be required. 1-2 people required for scabbling |  |
| Factors influencing costs |  | The following factors influence the time taken to implement the option and hence labour costs: - Weather - Type of equipment used - Access - Proximity of water supplies - Use of personal protective equipment (PPE) |  |
| ### Side effects / impact |  |  |  |
| Environmental impact |  | The disposal or storage of waste arising from the implementation of this option may have an environmental impact. However, this should be minimised through the control of any disposal route and relevant authorisations. |  |
| Social impact |  | - Acceptability of active disposal of contaminated waste water into the public sewer system - Cleaning will make an area look clean; implementation may give public reassurance. - Repair work to some surfaces may be required |  |
| Practical experience |  | There is no readily available evidence of any practical experience of the use of this option for clean-up of radioactive contamination in inhabited areas. |  |
| Key references |  | Brown and Jones (2000); Brown, Charnock and Morrey (2003); see other relevant data sheets (15 and 16) |  |