| ID: 29 |  | - Roads and paved areas - |  |  |
| --- | --- | --- | --- | --- |
| Firehosing |  |  |  |  |
| Objective | To reduce external gamma and beta doses from contamination on roads, paved and other outdoor areas with ‘hard’ surfaces within inhabited areas, and reduce inhalation doses from material resuspended from these surfaces. |  |  |  |
| Other benefits | Will remove contamination from roads, paved and other outdoor areas with ‘hard’ surfaces. |  |  |  |
| Countermeasure description | Ordinary firehosing equipment is used to hose contaminated material from hard outdoor surfaces. Contamination, dirt/dust and water are washed directly down drains or on to grass and soil verges. Water can be taken from a hydrant or a fire fighting appliance; it may also be possible to use rivers and lakes for a water supply. It is probably not practicable to collect water from firehosing paved areas. However, collection of water may be possible through the use of bunds, ie constraining the water within an area thus allowing it to be subsequently pumped to tankers (this is not considered further in this data sheet) Dust creation during implementation is unlikely to be a problem and so methods are not required to reduce the resuspension hazard to workers. Workers may need to be protected against water spray. |  |  |  |
| Target surface or population | Outdoor ‘hard’ surfaces (roads, pavements, paths, yards, playgrounds etc). |  |  |  |
| Target radionuclides | All radionuclides. Suitable for removing short-lived radionuclides if implemented quickly. See Appendix B for information on radionuclides. |  |  |  |
| Scale of application | Any size. Suitable for small surface areas (e.g. pavements, playgrounds) and large surface areas (e.g. roads). |  |  |  |
| Timing of implementation | Maximum benefit if carried out within about 1 week of deposition as effectiveness depends on removal of dust from the surface. Unlikely to have a significant effect at later times. |  |  |  |
| ### Constraints on implementation |  |  |  |  |
| Legal | - Liabilities for possible damage to property (e.g. flooding) - Ownership and access to property - Disposal of contaminated water via public sewer system - Use on listed sites and conservation areas |  |  |  |
| Environmental / technical | - Severe cold weather - Firehosing should not be considered if hard surfaces are not equipped with drains |  |  |  |
| ### Effectiveness |  |  |  |  |
| Reduction in contamination on the surface | A decontamination factor (DF) of between 2 and 4 can be achieved if this option is implemented within one week of deposition and there has not been any significant rain. DFs at longer times will be significantly lower unless surface has not been subject to any ‘traffic’ and there has been no rainfall. Repeated application is unlikely to provide any significant increase in DF. In the short term, the quoted DF can be considered to be same for all radionuclides, with the exception of elemental iodine and tritium, for which thorough hosing of impermeable surfaces will lead to virtually full removal. |  |  |  |
| Reduction in surface dose rates | External gamma and beta dose rates from the ‘hard’ surface will be reduced by the value of the DF. |  |  |  |
| Reduction in resuspension | Resuspended air concentrations will be reduced by the value of the DF. |  |  |  |
| Averted doses | Reductions in external gamma dose rate shortly after decontamination of the roof surfaces received by a member of the public living in and inhabited area could be expected to be in the range of 5-10 %. This is an illustrative value and should only be used to provide an indication of the likely effectiveness of this option and to compare across options. Further details can be found in Appendix C. Factors influencing dose reduction: - Consistency in effective implementation of option over a large area - Time spent by individuals on or close to ‘hard’ surfaces. - Amount of hard outdoor surfaces in the area ie environment type/land use - Time of implementation. The impact of cleaning the surfaces on the overall doses will be reduced with time as there will be less contamination on the surfaces due to natural weathering. - Whether decontamination is carried out on adjacent surfaces - Run-off of contamination onto other outdoor surfaces |  |  |  |
| Additional doses | Exposure pathways workers could be exposed to are: - External exposure from environment and contaminated equipment - Inhalation of plume activity (if radionuclide release is ongoing) - Inhalation of radioactive material resuspended from the ground and other surfaces (may be enhanced over normal levels) - Inadvertent ingestion of dust from workers' hands Contributions from pathways in italics will not be significant and using personal protective equipment (PPE) can control doses from these pathways. Exposure routes from transport and disposal of waste are not included. Beta/gamma hazard: For radionuclides that present a beta/gamma hazard, external dose to workers from contamination in the environment will be a few times higher than public doses over the period of implementation. Even under very dusty conditions, the inhalation dose from resuspended material will only make a small contribution to the total worker dose. Alpha hazard: For radionuclides that present an alpha hazard, inhalation dose to workers from resuspended material will typically be a few times higher than public doses over the period of implementation. External dose from contamination in the environment can be ignored. For further information on worker doses, see Appendix D. |  |  |  |
| Factors influencing effectiveness of procedure (technical) | - Amount of dust on surface at time of contamination and particle size of dust on surface. - Type, evenness and condition of surface. - Road gutters must be hosed carefully because contamination tends to accumulate there. - Time of operation (the longer the time between deposition and implementation of the option the less effective it will be due to fixing of the contamination to the surface and migration of dust from the surface). - Consistent application of water over the contaminated area. - Effectiveness is significantly reduced after rain. |  |  |  |
| Factors influencing effectiveness of procedure (social) | Acceptability of waste water disposal to public sewer system. |  |  |  |
| ### Requirements |  |  |  |  |
| Required specific equipment | - Firehose - Hydrant or fire fighting appliance - Pump, if required (about €6000) N.B. if fire fighting appliance is used, it may reduce the capability of fire services to respond to fires. |  |  |  |
| Required utilities and infrastructure | Water supply |  |  |  |
| Required consumables | Water Fuel and parts for equipment. |  |  |  |
| Required skills | Skilled personnel essential to operate fire fighting appliances and hoses. |  |  |  |
| Required safety precautions | Water-resistant clothing should be recommended, particularly in highly contaminated areas. The use of personal protective equipment (PPE), including respiratory protection, may be advisable due to the proximity to contaminated water spray. Precautions are needed to ensure that people making connections to mains water supplies do not inadvertently contaminate the water supply, e.g. by back-flow from vessels containing radioactivity or other contaminants, or operate hydrants in a way that disturbs settled deposits within the water main system. |  |  |  |
| ### Waste |  |  |  |  |
| Amount and type | Amount: 1 10-1 – 2 10-1 kg m-2 solid in up to 250 l m-2 water Type: dust and water |  |  |  |
| Intervention costs (see Appendix E) |  |  |  |  |
|  | Small areas |  |  | Large areas |
| Equipment € m-2 | 7 10-5 |  |  | 1 10-4 |
| Consumables € m-2 | No significant cost identified |  |  |  |
| Labour € m-2 | 7 10-2 |  | 1 10-1 |  |
| Operator time | 1 103 m2/team.hr (Team size: 2 – 3 people depending on type of equipment used) |  |  |  |
| Factors influencing costs | The following factors influence the time taken to implement the option and hence labour costs: - Weather - Topography - Size of area to be treated - Type of equipment used - Access - Proximity of water supplies - Use of personal protective equipment (PPE) |  |  |  |
| ### Side effects / impact |  |  |  |  |
| Environmental impact | Run-off from firehosing (if not collected) will flow onto other surfaces or directly down drains. The environmental impact of disposal of waste water from firehosing directly to drains may be easier to control and monitor in the sewage treatment plant than long term run-off produced by rainfall. The disposal of waste arising from the implementation of this option may have an environmental impact. However, this should be minimised through the control of any disposal route and relevant authorisations. Run-off of contamination onto other outdoor surfaces which may lead to more waste being generated if these areas subsequently require decontaminating. |  |  |  |
| Social impact | - Acceptability of active disposal of contaminated waste water into the public sewer system. However, note point above. - Firehosing of roads and pavements will make an area look clean; implementation may give public reassurance. |  |  |  |
| Practical experience | Small-scale tests conducted in Denmark and USA under varying conditions to examine the influence of e.g. street dust loading. |  |  |  |
| Key references | Andersson (1996); Andersson and Roed (1999); Andersson et al (2003); Brown and Jones (2000); Brown, Charnock and Morrey (2003); NRPB (2005); Roed (1990); Roed and Andersson (1996); Roed, Andersson and Prip (1995); Warming (1984) |  |  |  |